PR  SERVICE MANUAL
[image: image1.jpg]



REV 0.1

1、Introduction
1.1 PREFACE
Thank you for the purchasing of our CAS PR Series.
This series have been designed with CAS reliability, under rigid quality control and with outstanding performance. Your speciality departments can enjoy with these high quality reliable CAS products.

We believe that your needs will be satisfied and you will have proper reliability in variable weight.

This manual will help you with proper operations and care of the PR series.

Please keep it handy for the future reference.

[image: image2.jpg]OVERALL VIEW





1.2 Sealing Method
[image: image3.emf]


1.3Specifications
	MODEL
	PR

	CAPACITY

(DUAL)
	3 * 0.001Kg

(6 * 0.002lb)
	6 * 0.002Kg
(15 * 0.005lb)
	15 * 0.005Kg
(30*0.01lb)

	CAPACITY

(SINGLE)
	6 * 0.002Kg
(15*0.005lb)
	15*0.005Kg
(30*0.01lb)
	30*0.01Kg
(60*0.02lb)

	Maximum Tare
	-6.000Kg
	-9.995Kg
	-9.990Kg

	Temperature Range
	- 10 (C ~ +40 (C

	Power Source
	110V / 220V / 230V, 50Hz /60Hz

	Power Consumption
	APPROX. 10W

	Display
	Total Price  6 Digit

Weight     5 Digit

Unit Price   5 Digit

	Plate Size
	340 (W) * 215 (W)


1) General Calibration
- Pressing and holding calibration switch press [POWER] key to go to calibration Mode

1.4 WEIGHING SPECIFICATIONS

⑴Single Capacity (Table 1)

	No.
	Capacity
	Degree
	Tare Range

	0
	3kg
	1g
	0 – 1.499kg

	1
	6kg
	2g
	0 – 2.998kg

	2
	15kg
	5g
	0 – 7.495kg

	3
	30kg
	10g
	0 – 14.99kg

	4
	6lb
	0.002lb
	0 – 2.998lb

	5
	15lb
	0.005lb
	0 – 7.495lb

	6
	30lb
	0.01lb
	0 – 14.99lb

	7
	60lb
	0.02lb
	0 – 29.98lb


⑵Dual Capacity (Table2)
	No.
	Capacity
	Degree
	Tare Range

	8
	6kg
	（0 – 3kg）- 1g   (3 – 6kg) – 2g
	0 – 2.999kg

	9
	15kg
	（0 – 6kg）- 2g   (6 – 15kg) – 5g
	0 – 5.998kg

	10
	30kg
	（0 – 15kg）- 5g   (15 – 30kg) – 10g
	0 – 9.995kg

	11
	6lb
	（0–3lb）- 0.001lb   (3–6lb) – 0.002lb
	0 – 2.999lb

	12
	15lb
	（0–6lb）- 0.002lb  (6–15lb) – 0.005lb
	0 – 5.998lb

	13
	30lb
	（0–15lb）- 0.005lb (15–30lb)– 0.01lb
	0 – 9.995lb

	14
	60lb
	（0–30lb）- 0.01lb  (30–60lb) – 0.02lb
	0 – 29.99lb


⑶Single Capacity (Table3 High Resolution)
	No.
	Capacity
	Degree
	Tare Range

	15
	6kg
	 1g  
	0 – 2.999kg

	16
	15kg
	2g 
	0 – 5.998kg

	17
	30kg
	5g
	0 – 9.995kg

	18
	6lb
	0.001lb
	0 – 2.999lb

	19
	15lb
	0.002lb
	0 – 5.998lb

	20
	30lb
	0.005lb
	0 – 9.995lb

	21
	60lb
	0.01lb
	0 – 29.99lb


1.5  DISPLAY
●  LED  16 bits 

●  Weighting Display：5 bits    

Decimal： 

3kg Mode  ( 3 bits decimal (0.000~3.000kg)

   6kg Mode  ( 3 bits decimal (0.000~6.000kg)

   15g Mode  ( 3 bits decimal (0.000~15.000kg)

30kg Mode  ( 3 bits decimal (0.000~30.000kg)

6lb Mode  ( 3 bits decimal (0.000~6.000lb)

   15lb Mode  ( 3 bits decimal (0.000~15.000lb)

   30lb Mode  ( 3 bits decimal (0.000~30.000lb)

60lb Mode  ( 2 bits decimal (0.00~60.00lb)

●  Unit Price Display：5 bits

●  Total Price Display：6 bits

●  Zero Point Indicator、Tare Indicator、Power Source Indicator、Low Battery Indicator、Accumulation Indicator

1.6 KEYBOARDS
Key Number：16
● Numeric Enter keys：[0]，[1]，[2]，[3]，[4]，[5]，[6]，[7]，
[8]，[9];
● Zero Set Key：[Zero]  
● Tare Key：[Tare]  
● Add/TTP Call Key：[#]  
● Pay Key：[*]
● Nemeric Clear Key：[Clear]  
1.7 Weighing Mode
⑴.Weighing with Tare
Tare Method：
Place the container on the platter，press TARE key。

⑵.Zero Set Range
Initial Zero ±The（2％，5%，10%，20%）Capacity
Zero Set Range ±The（2％，5%，10%，20%）Capacity
⑶.Unit Price Input
Numeric Enter [0] – [9]
⑷. Accumulation

When you have a few batch of things to weigh, place the commodity on the platter. Enter an unit price. Press [#] key to save weighing times and total price in memory. Meanwhile, display total amount and total price. Remove the commodity from the platter, repeat the above operation, can continue to accumulate.

. Display /Clear Previous Amount And Total Price
When no commodity on the platter, press [#] to display total 
amount and total price. Press numeric key to continue to add up 
transactions for weighed commodities. Press [C] key to clear previous 
total amount and previous total price, and go back to the weighing mode.
⑹. Make Payment
When no commodity on the platter, press [#] to display total

amount and total price. Press [*], enter a customer’s payment displayed on the unit price display, and the amount of change is displayed on the total price display. Press [*] , to exit from the change mode, to go back to the weighing mode.
1.8 Battery Consumption Time
Battery specifications 4V/4AH, battery charging time 16 hours, 25 hours continuous use time. When the battery voltage drops below 3.8V, the low battery indicator lights. For the protection of battery over discharge, when the battery voltage is lower than 3.6V, the automatic shutdown.
2、Test Mode Introduction
I、 Power on to Enter Calibration Mode

Press [CAL] key, then press [ON/OFF] key and enter cal mode. 

Display [ CAL ] three times, then show [C-1].Press [Zero] or Numeric keys to select one of C1~C5 item, press [Tare] key to get into C1~C5 mode. 

Notice：Because the keyboard of the scale will test the key value and the battery voltage when enter into CAL mode, please unpress the [CAL] key, and no key will be pressed between display [CAL] and dsplay [C1].

When keyboard can not be used, please try again.
II、 C1  Set Weighing Specification
C1：Weighing Specification Set：0～14
Display  [C1 x ]      Showed In Table 1 and Table2.
III、 CLEAR MEMORY

C2：EEPROM Initiation  
Press [Tare] Key to Initiate EEPROM.

IV、 C3 Calibration
Display      [ULoAd]

Press [Tare] Key, Confirm Zero Point。

Display  [LoAd]

Load the poise, press [Tare]and wait a few seconds. If the weight loaded is just the same as the full range, press [Tare] complete this calibration. Or you should modify the value through Nemeric Key and Press [Tare] Key.

    Notice：Calibration weighting value should not great than 10% of capacity.
V、 FUNCTION SET
C4-1:Initial Zero Range
   [C4-1  0]         2% Full Range
   [C4-1  1]         5% Full Range
   [C4-1  2]         10% Full Range
   [C4-1  3]         20% Full Range
C4-2: Zero Set Range
[C4-2  0]         2% Full Range
   [C4-2  1]         5% Full Range
   [C4-2  2]         10% Full Range
   [C4-2  3]         20% Full Range
     C4-3：Zero-Tracking Range
    [C4-3  0]         1/4e

        [C4-3  1]         1/2e

        [C4-3  2]         1e

        [C4-3  3]         2e

     C4-4：Sleep Mode
    [C4-6  0]         Sleep Mode Off
        [C4-6  1]         Sleep Mode On
     C4-5：Price Decimal Point Position
    [C4-7  0]     Unit Price, Total Price With 2 Decimal Point
        [C4-7  1]     Unit Price, Total Price With 1 Decimal Point
VI、 AD Test
C5：   Show Internal AD value
VII、 Gravity constant
C6：   Gravity constant

     G1： Manufacturing place Gravity constant

         G2： use place Gravity constant
3、Circuit Diagram (PR)

3.1  MAIN PCB 

[image: image4.png]



3.2  Power Part (Main PCB)
[image: image5.png]



3.3  Display PCB （OP）
[image: image6.png]



3.4  Display PCB (Cust)
[image: image7.png]X





4、Exploded View
[image: image8.jpg]w

v* L I | [emwm ]
[mo [ www  Jofm] e [ Jomm fermnc
Lo L™ one s w
' 1 POV ERAIET | 10000010010 P 1 '
2 FRT DISFLAY-OVER| 20508108230 1B 852 705 1
— El FANT DISLIT KB | 1RO 1746978 SmtEl i |
4 RATERY LI | 1000M0L000 900,510, 0T 1
5 BITERY-OVR | 2000M010010 13000.3 1S i
' 6 BRATET SULING | 00040010000 1540410 1 i
7 I AT | 103002050 15,2001t i
7 8 WATER LEVEL GAGE | 202240000060 O 14,548 I L ~
9 WNAD | Sl Tinkd on 98 1
o u RO EHONIS o TR 4 ams
‘ 1t REAR DISPLAY POR | GLIOPRBOO0I4. 257,347, S TR t ’
12 TSR | Tl 700 T o 1
1 13 MG SCEY | 150200005080 6 2 [
1 Y SPPORT | 110080010000 NS AL i
¥ 15 TOCEL | S5PR000600 1802 1 1
16 SULIG (590000000010 o108 2
- 17 ey | Moo 8 1 L
19 os H010020 RIS S 1
19 B0y Ho0A10000 HORIEIED SGASS 1
¢ E) AR DIPLAY-COVER | 2050PEB06800 08402 0.5 1 ¢
2 ALK KT | s [ 2
B 2 PATERSS | 100PRDL0030 BB SIS 1 —
23 BLT VEEKCE (S1) | L6S2ADOORZED [ 4
= E] BT VIR (5T | 1632A000n250 W5 B (TER) 2 s
a5 BT VEERE | IS30MO06Z50 w2 2
2 AT OISR | 2601PR000010 5058 1
. 27 BATTER (2 BATT FE] TS20PO070000 102946, 306, (44744 FB) 1 r
2 T (8 15400004000 s 4
. 29 THEPING SCREY () | 15108004120 iz 4 ¢
an TRPIFG SREY (1 | 151041000080 [ 5
3 TP SO (7D | 1SI0A0004080 M 4
B 32 BAIG | I5GOST0500 esor0g i
23 [BILT-SATTERY-COVER | 128140000040 0.8 5T 1
‘ 34NV GAE COTE 00000 DI85 1 “
35 BT P (5T | 1SS2M00R250 05 1
- £ TR0 | 15400 ™ i L
El OUID STOPER | TGA0S0000ED 1
£ RIS R | TES0SO00N SOINALAS O 1
' 39 ABERSTINI 7 | 21001060 oY cont i '
®n MR | 22007801080 s 1
- “ SCPATE | 19PRO00 1,602 70,50 1 ~
‘ .
v op senmem | SOS
| avn ARTRIERRAR i0H
RiVA Fax PRUTETR -
B0l rane & e
o= 7 i ey [Retam
Y # o [ [ m W ) Cal
10

Iy
i

G T4 N kot





[image: image9.jpg]oy

k2 LAJ E L el L
[daw | ware %‘ e T | [ v |
T [ 3 3 @
1 mmman | 45400 030 ! %
2 aex | e e 1
3 uRros | mein IS TS z
4 o 10 0 ) nawpLH 1 -
5 umrom | oo ] 1
6 s | e o 1
7 susmn | nwomm L 1 &
8 wmmes | nom o145 a4 1
b | oo Ao 1 -
10 o 2 o wen 4
i vgurom | xemme L L [ s
[ s | nomeron 2 o 1 ¢
] g o 8 | s 108200 | 2
" moamn | orm THEOEE LUK 1 B
15 woo | s 1w 1
16 o | mooowns a0 3
17 i | e s 55 1 b
1] s Py IR i 1
] m wome TS0 ML 1 -
a s |z w08 1
2 mips | some 1 A5 1
2 ums | whm 30,600,005 S50 1 &
o | i o 58 4
£ MITRE | e s P TR 2 B
B wm | e ) 2
2 W oS | e ey 1 ke
o7 st | 7o e 1
E | seonoo e 4
29 S S (1 [ 9 B
F] o som 09 | sionenm ) 3
a v ot 09 | oo Wi 4
E3 B8 T o0 1 )
E wramram | ssoma 0. 7SI 1
% e o] e o505 1 B
E oo | s ) 1
% EEE T [ 1
7 oo | o 1 .
E] Bl omn am 1
» e | rnien et 1 -
[ ey | oo 1 1
[ m R0 son.zm 4 1 .
2 rupner | o oa 45 1
3 opy | awoe 04005 85 1
“ saen | mmsomo o 20 z -
4 ks | wwowm ot 8 2
4% mora | oo v it 1 )
T
Niad: PR PHISSIE A EﬁE
) o
B Fass: PSR -
e Pl e
s el [ | T
¥ e [ m [TEl ) By - e
w»
g I 03 T T, T O &






5、Part Location
5.1  Main PCB (Top)
[image: image10.png]o

ciig

PR-MAIN REV.D1

012| ot o
E =
o
o o
=
o3
07 a
£10 °
+ o
U4 N
o v

10 pig- 017

o

i

n
e RIE)
W)
O
8(s°)
BL{GND)|

Buzzt

2

DATE 15.JUN.2010





5.2  Main PCB (Bottom)
[image: image11.png]830
831

.
[ Jess

e 1] —

wl] g | %(|
B D L m w )
Ly e aly! 7 i

| \_Dj»a
HESCHUEE::
lete |_Jes

E : R u[wjas

o [ g2
b3

i /

[
[

@
% [}





5.3  Pole Display PCB (Top)
[image: image12.png]0

s

"

w2 PR-DISPLAY RevQl  v7

™ 2 i) et

w

8 )

s

—
v
=

" w ws w

oz

PR — e w3 e

W .




5.4  Pole Display PCB (Bottom)

[image: image13.png]



5.6  Bench Front Display PCB (Top)

[image: image14.png]CN1

CN2





5.7  Bench Rear Display PCB (Top)

[image: image15.png]i 7

=

i

|
—





6、Part List
	1.1 BODY ASS'Y

	    ASS'Y NAME
	KOREA P/N
	SPEC
	QTY

	PR
	9002PR000CN0
	MANUAL(China)
	1

	BENCH BODY ASS'Y
	7502PPR02200
	220V 7V 800mA
	1

	BENCH BODY ASS'Y
	2000A0010000
	340*335*150     ABS+GLASS
	1

	BENCH BODY ASS'Y
	7520P0070000
	102*46.3*46.3（4V/4A PB）
	1

	BENCH BODY ASS'Y
	7840W0031100
	3P*110/240MM
	1

	BENCH BODY ASS'Y
	2022A0000050
	Φ14.5*8 CHINA
	1

	BENCH BODY ASS'Y
	2631PR000010
	85*45*25.8
	1

	BENCH BODY ASS'Y
	1000A0010000
	36*20*1.0
	1

	BENCH BODY ASS'Y
	2000A0010010
	138*96*9.3    ABS
	1

	POLE BODY ASS'Y
	1261A0000040
	M4*0.7*8.5(SUS)TP
	1

	POLE BODY ASS'Y
	1561MSU03000
	Φ3*Φ7*0.6
	1

	BENCH BODY ASS'Y
	1000A0010010
	44.8*39*2MM
	1

	BENCH BODY ASS'Y
	1261A0000040
	BATTERY COVER BOLT
	1

	BENCH BODY ASS'Y
	1000A0010020
	90*20.5*10*1.0T
	1

	BENCH BODY ASS'Y
	2008A000001B
	M6*20   RUBBER
	4

	BENCH BODY ASS'Y
	1502A0003080
	M3*8
	2

	BENCH BODY ASS'Y
	1510A0004120
	M4*12 
	10

	BENCH BODY ASS'Y
	1532A0006250
	M6*25 彩锌(STOPPER)
	1

	BENCH BODY ASS'Y
	1510A0004120
	M4*8
	7

	BENCH BODY ASS'Y
	1502A0003080
	M4*8
	1

	BENCH BODY ASS'Y
	1510A0004120
	M3*8
	3

	BENCH BODY ASS'Y
	7840W0062000
	6P*200
	1

	BENCH BODY ASS'Y
	7560PAC00410
	CHINA  2m 250v 10A
	1

	BENCH BODY ASS'Y
	7630S0000030
	3P-0717(INLET,FUSE)   CHINA
	1

	BENCH BODY ASS'Y
	7620S0605000
	0.5A/250V Ф6 UL,CSA(SP-LED)
	1

	BENCH BODY ASS'Y
	7642S0000600
	51*25*1.5mm     6N
	3

	BENCH BODY ASS'Y
	7640S0005050
	　
	1

	BENCH BODY ASS'Y
	765030000200
	　
	5

	BENCH BODY ASS'Y
	1530A0006250
	M6*25                      
	2

	BENCH BODY ASS'Y
	1551A0006300
	Φ6.3                
	2

	　1.2BENCH UPPER CASE ASS'Y

	BENCH UPPER CASE ASS'Y
	2000A0010020
	340*335*150  ABS
	1

	BENCH UPPER CASE ASS'Y
	2050PRA06330
	195.85*92.7*0.5
	1

	BENCH UPPER CASE ASS'Y
	2050PRB06330
	263.4*42.5*0.5
	1

	BENCH UPPER CASE ASS'Y
	2010A0000260
	Φ18.5*0.5t
	1

	BENCH UPPER CASE ASS'Y
	2200PR000330
	KEY CIRCUIT
	1

	BENCH UPPER CASE ASS'Y
	2200PR000CN0
	KEYSHEET
	1

	BENCH UPPER CASE ASS'Y
	1800PR000000
	97.6*22.7*0.5t
	1

	　1.3TRAY ASS'Y

	TRAY ASS'Y
	2000A0010030
	322*212*13                 ABS
	1

	TRAY ASS'Y
	1000PR010030
	313.8*202.8*0.5       SUS430
	1

	TRAY ASS'Y
	2632A0010000
	　
	1

	1.4L/C BRACKET ASS'Y
	　
	　
	　
	　

	L/C BRACKET ASS'Y
	1100A0010000
	250*150*29.5       AL(ADC12)
	1

	L/C BRACKET ASS'Y
	1532A0006250
	M4*25      黑色
	4

	L/C BRACKET ASS'Y
	1540A0004000
	M4*3
	4

	L/C BRACKET ASS'Y
	5500PR000600
	130*30*22
	1

	L/C BRACKET ASS'Y
	1530A0006250
	M6*20                      
	2

	L/C BRACKET ASS'Y
	1551A0006300
	Φ6.3                
	2

	　1.5BENCH C/T BOX ASS'Y

	BENCH C/T BOX ASS'Y 
	9203PR000010
	B 型
	1

	BENCH C/T BOX ASS'Y 
	9203PR000020
	B 型
	1

	BENCH C/T BOX ASS'Y 
	9103PR000010
	B 型 
	1

	BENCH C/T BOX ASS'Y 
	1030A0002030
	35.2*26*1t
	1

	BENCH C/T BOX ASS'Y 
	1265A0000010
	M3*5
	2

	BENCH C/T BOX ASS'Y 
	9900A0000010
	Φ10*5.6
	2

	BENCH C/T BOX ASS'Y 
	9304A000005B
	　
	1

	1.6MAIN PCB ASSY

	MAIN PCB ASSY
	6100PPR00000
	76*44.5mm 양면
	1

	MAIN PCB ASSY
	6200ISO08250
	N79E825
	1

	MAIN PCB ASSY
	6214IS011800
	CS1180
	1

	MAIN PCB ASSY
	6220I0078050
	LM7805
	1

	MAIN PCB ASSY
	6236IS001380
	74HC138(LP-Ⅱ)
	1

	MAIN PCB ASSY
	1050A0002200
	TO-220 STANDUP
	1

	MAIN PCB ASSY
	6220I0078050
	7330
	1

	MAIN PCB ASSY
	6280I0090150
	9015
	1

	MAIN PCB ASSY
	6280I0090150
	9014
	1

	MAIN PCB ASSY
	6280I0090150
	2SA1020
	1

	MAIN PCB ASSY
	6670T0001020
	HB-1M201102JT(TP2,LP2,DBB)
	27

	MAIN PCB ASSY
	6527IF310000
	FTR 0805 104(100k)（1%）
	1

	MAIN PCB ASSY
	6527IF310000
	RR1220P-103D(10K)（1%）
	2

	MAIN PCB ASSY
	6527IF310000
	FTR 0805 102(1k)（1%）
	2

	MAIN PCB ASSY
	6527IF310000
	FTR 0805 105(1M)（1%）
	2

	MAIN PCB ASSY
	6527IF310000
	FTR 0805 203(20K)（1%）
	1

	MAIN PCB ASSY
	6527IF310000
	FTR 0805 202(2K)（1%）
	1

	MAIN PCB ASSY
	6512CJ000100
	CFR 1ohm/ 2W
	1

	MAIN PCB ASSY
	6712CHP01040
	CL21C 104KBNC
	12

	MAIN PCB ASSY
	6712CHP01040
	CL21C 200JBNC (20PF)
	2

	MAIN PCB ASSY
	6704C1001000
	100UF/16V 
	2

	MAIN PCB ASSY
	6704C1001000
	10UF/16V
	1

	MAIN PCB ASSY
	6804F0010040
	LINE FILTER
	1

	MAIN PCB ASSY
	6704C1001000
	1000UF/25V
	1

	MAIN PCB ASSY
	6291IP040040
	1N4004
	6

	MAIN PCB ASSY
	6294ISW41480
	1N4148（DIP）
	2

	MAIN PCB ASSY
	7010ZM049150
	4.9152MHz (ATS-49U/S)
	1

	MAIN PCB ASSY
	7600STA19020
	11902(DJTA-1102)
	1

	MAIN PCB ASSY
	7002Z0000000
	APR,ADR(CHINA)
	1

	MAIN PCB ASSY
	7801CLW00060
	LW0640-06 (LPH01-06)
	1

	MAIN PCB ASSY
	7801CLW00060
	5273-02 (LPH03-02)
	1

	MAIN PCB ASSY
	7801CLW00060
	03-5267
	1

	MAIN PCB ASSY
	7801CLW00060
	2.54*18mm*40PIN （5PIN ）
	0.38 

	1.7BENCH FRONT DISP ASS

	BENCH FRONT DISP ASSY
	6110PPR00000
	174.8*78.9mm단면
	1

	BENCH FRONT DISP ASSY
	6224I0058170
	CS5817
	1

	BENCH FRONT DISP ASSY
	6712CHP01040
	CL21C 104KBNC
	1

	BENCH FRONT DISP ASSY
	6704C1001000
	100UF/16V 
	2

	BENCH FRONT DISP ASSY
	6505MF015000
	MF--25T1/4W 150ohm（1%）
	10

	BENCH FRONT DISP ASSY
	6527IF310000
	FTR 0805 102(1k)（1%）
	2

	BENCH FRONT DISP ASSY
	7230D0051610
	JX5161AH
	16

	BENCH FRONT DISP ASSY
	7232DR00003A
	Ф3-RED  红
	5

	BENCH FRONT DISP ASSY
	7801CLW00060
	LA0640-06 (LPHA01-06)
	2

	BENCH FRONT DISP ASSY
	7844W0001000
	Ф0.6 * 10m/m
	7

	1.8BENCH REAR DISP ASSY

	BENCH REAR DISP ASSY
	6110PRB00014
	257.3*47.9mm 单面板
	1

	BENCH REAR DISP ASSY
	6505MF015000
	MF--25T1/4W 150ohm（1%）
	8

	BENCH REAR DISP ASSY
	7230D0051610
	JX5161AH
	16

	BENCH REAR DISP ASSY
	7232DR00003A
	Ф3-RED  红
	4

	BENCH REAR DISP ASSY
	7840W0PR0450
	6P*450
	1

	BENCH REAR DISP ASSY
	6224I0058170
	CS5817
	1

	BENCH REAR DISP ASSY
	6712CHP01040
	CL21C 104KBNC
	1

	BENCH REAR DISP ASSY
	6704C1001000
	100UF/16V 
	1


	1.1 POLE BODY ASS'Y

	    ASS'Y NAME
	NUMBER
	NAME
	QTY

	PR
	9002PR011620
	MANUAL CHINA
	1

	POLE BODY ASS'Y
	7502PRP070220
	TRANSFORMOR 220V 7V 800mA
	1

	POLE BODY ASS'Y
	2000PR010060
	BODY 340*335*150  ABS+GLASS
	1

	POLE BODY ASS'Y
	7520PR004040
	BATTERY 102*46.3*46.3
	1

	POLE BODY ASS'Y
	7840W00A2220
	BATTER WIRE 3P*110/240MM
	1

	POLE BODY ASS'Y
	2022A0000051
	WATER LEVEL GAGE  Φ14.5*8 CHINA
	1

	POLE BODY ASS'Y
	2631PR000010
	BATTERY CUSHION 85*45*25.8
	1

	POLE BODY ASS'Y
	1000PR010520
	BRACKET_SEALING 85*45*25.8
	1

	POLE BODY ASS'Y
	2000PR010960
	BATTERY-COVER138*96*9.3 ABS
	1

	POLE BODY ASS'Y
	1261A0000040
	BOLT-BATTERY-COVER M4*0.7*8.5(SUS)TP
	1

	POLE BODY ASS'Y
	1561MSU0300
	E-RING Φ3*Φ7*0.6
	1

	POLE BODY ASS'Y
	1000PR010620
	POWER BRACKET
	1

	POLE BODY ASS'Y
	1000PR011020
	BATTERY HOLDER
	1

	POLE BODY ASS'Y
	2008A000001B
	FOOT  M6*20 RUBBER
	4

	POLE BODY ASS'Y
	1502A0003080
	MACHINE SCREW M3*8
	2

	POLE BODY ASS'Y
	1510A00004120
	TAPPING SCREW (PH) M4*12
	10

	POLE BODY ASS'Y
	1532A0006250
	BOLT WRENCH (ST) M6*25 彩锌
	1

	POLE BODY ASS'Y
	1510A0004080
	TAPPING SCREW (PH) M4*8
	7

	POLE BODY ASS'Y
	1502A0004080
	MACHINE SCREW M4*8
	1

	POLE BODY ASS'Y
	1510A0003080
	TAPPING SCREW (PH) M3*8
	7

	POLE BODY ASS'Y
	7560PAC00410
	AC CORD CHINA 2m 250v 10A
	1

	POLE BODY ASS'Y
	7630S0000030
	3P-0717(INLET,FUSE)   CHINA
	1

	POLE BODY ASS'Y
	7620S0605000
	FUSE  250V 500mA
	1

	POLE BODY ASS'Y
	7642S0000600
	METAL CLAMP
	3

	POLE BODY ASS'Y
	7640S0005050
	CORD STOPPER
	1

	POLE BODY ASS'Y
	765030000200
	TIE BAND
	5

	POLE BODY ASS'Y
	1530MPZ06250
	BOLT WRENCH M6*25     
	2

	POLE BODY ASS'Y
	1551MPZ06000
	WASHER (SPR M6) Φ6.3   
	2

	POLE BODY ASS'Y
	7702G0000040
	PCB CONNECTOR
	3

	1.2 POLE UPPER CASE ASS'Y

	POLE UPPER CASE ASS'Y
	2000PR010110
	CASE 340*335*150 ABS
	1

	POLE UPPER CASE ASS'Y
	2050PRA00330
	OP_DISP_PC 195.85*92.7*0.5
	1

	POLE UPPER CASE ASS'Y
	2050PRB00330
	CUST_DISP 263.4*42.5*0.5
	1

	POLE UPPER CASE ASS'Y
	2010A0000260
	LEVEL COVER  Φ18.5*0.5t
	1

	POLE UPPER CASE ASS'Y
	2100PR010820
	 MEMBERSWITCH  KEY
	1

	POLE UPPER CASE ASS'Y
	2200PR010820
	 MEMBERSWITCH  KEYSHEET
	1

	POLE UPPER CASE ASS'Y
	1800PR012100
	NAME PLATE 97.6*22.7*0.5t
	1

	1.3 TRAY ASS'Y

	TRAY ASS'Y
	2000PR010210
	TRAY(ABS) 322*212*13
	1

	TRAY ASS'Y
	1000PR010320
	PLATTER 313.8*202.8*0.5 SUS430
	1

	TRAY ASS'Y
	8700PR012000
	Double Faced Adhesive Tape 
	0.083

	1.4 L/C BRACKET ASS'Y

	L/C BRACKET ASS'Y
	1100PR010420
	TRAY SUPPORT250*150*29.5 AL
	1

	L/C BRACKET ASS'Y
	1532A0004250
	BOLT WRENCH (ST) M4*25
	4

	L/C BRACKET ASS'Y
	1540A0004000
	NUT (HEX) M4*3
	4

	L/C BRACKET ASS'Y
	5519PR000300
	LOADCELL 130*30*22
	1

	L/C BRACKET ASS'Y
	1530MPZ06200
	BOLT WRENCH M6*20
	2

	L/C BRACKET ASS'Y
	1551MPZ06000
	WASHER (SPR M6) Φ6.3   
	2

	1.5 POLE DISP CASE ASS'Y

	POLE DISP CASE ASS'Y
	2000PR011180
	DISPLAY-CASE
	2

	POLE DISP CASE ASS'Y
	2055PRA06330
	DISPLAY-COVER 135*111.25*1.0
	2

	POLE DISP CASE ASS'Y
	1150PR011220
	PIPE Φ27.2*270 AL
	1

	POLE DISP CASE ASS'Y
	2001A0000420
	DISPLAY NUTΦ43*35 ABS
	1

	POLE DISP CASE ASS'Y
	2000PR011380
	POLE_BASE3_CAPΦ42*34 ABS
	1

	POLE DISP CASE ASS'Y
	2000PR011480
	POLE_BASE 100*50*54 ABS
	1

	POLE DISP CASE ASS'Y
	2020PR011580
	PR POLE CONNECTOR
	1

	POLE DISP CASE ASS'Y
	7840W0PR1000
	WIRE  6P*1000
	1

	POLE DISP CASE ASS'Y
	7702G0000040
	PCB SUPPORT  4N-(T)
	3

	1.6POLE C/T BOX ASS'Y

	POLE C/T BOX ASS'Y
	9204PR011780
	STYROFOAM BOX
	1

	POLE C/T BOX ASS'Y
	9204PR011880
	STYROFOAM BOX
	1

	POLE C/T BOX ASS'Y
	9104PR011980
	C/T BOX
	1

	POLE C/T BOX ASS'Y
	1030A0002030
	SEALING PLATE  35.2*26*1t
	1

	POLE C/T BOX ASS'Y
	1265A0000010
	SEALING_BOLT  M3*5
	2

	POLE C/T BOX ASS'Y
	9900A0000010
	SEALING PB Φ10*5.6
	2

	POLE C/T BOX ASS'Y
	9304A000005B
	POLY BAG
	1

	POLE C/T BOX ASS'Y
	9304A000001A
	POLY BAG(DISPLAY)
	1

	1.6MAIN PCB ASSY

	MAIN PCB ASSY
	6100PPR00000
	76*44.5mm 양면
	1

	MAIN PCB ASSY
	6200ISO08250
	N79E825
	1

	MAIN PCB ASSY
	6214IS011800
	CS1180
	1

	MAIN PCB ASSY
	6220I0078050
	LM7805
	1

	MAIN PCB ASSY
	6236IS001380
	74HC138(LP-Ⅱ)
	1

	MAIN PCB ASSY
	1050A0002200
	TO-220 STANDUP
	1

	MAIN PCB ASSY
	6220I0078050
	7330
	1

	MAIN PCB ASSY
	6280I0090150
	9015
	1

	MAIN PCB ASSY
	6280I0090150
	9014
	1

	MAIN PCB ASSY
	6280I0090150
	2SA1020
	1

	MAIN PCB ASSY
	6670T0001020
	HB-1M201102JT(TP2,LP2,DBB)
	27

	MAIN PCB ASSY
	6527IF310000
	FTR 0805 104(100k)（1%）
	1

	MAIN PCB ASSY
	6527IF310000
	RR1220P-103D(10K)（1%）
	2

	MAIN PCB ASSY
	6527IF310000
	FTR 0805 102(1k)（1%）
	2

	MAIN PCB ASSY
	6527IF310000
	FTR 0805 105(1M)（1%）
	2

	MAIN PCB ASSY
	6527IF310000
	FTR 0805 203(20K)（1%）
	1

	MAIN PCB ASSY
	6527IF310000
	FTR 0805 202(2K)（1%）
	1

	MAIN PCB ASSY
	6512CJ000100
	CFR 1ohm/ 2W
	1

	MAIN PCB ASSY
	6712CHP01040
	CL21C 104KBNC
	12

	MAIN PCB ASSY
	6712CHP01040
	CL21C 200JBNC (20PF)
	2

	MAIN PCB ASSY
	6704C1001000
	100UF/16V 
	2

	MAIN PCB ASSY
	6704C1001000
	10UF/16V
	1

	MAIN PCB ASSY
	6804F0010040
	LINE FILTER
	1

	MAIN PCB ASSY
	6704C1001000
	1000UF/25V
	1

	MAIN PCB ASSY
	6291IP040040
	1N4004
	6

	MAIN PCB ASSY
	6294ISW41480
	1N4148（DIP）
	2

	MAIN PCB ASSY
	7010ZM049150
	4.9152MHz (ATS-49U/S)
	1

	MAIN PCB ASSY
	7600STA19020
	11902(DJTA-1102)
	1

	MAIN PCB ASSY
	7002Z0000000
	APR,ADR(CHINA)
	1

	MAIN PCB ASSY
	7801CLW00060
	LW0640-06 (LPH01-06)
	1

	MAIN PCB ASSY
	7801CLW00060
	5273-02 (LPH03-02)
	1

	MAIN PCB ASSY
	7801CLW00060
	03-5267
	1

	MAIN PCB ASSY
	7801CLW00060
	2.54*18mm*40PIN （5PIN ）
	0.38 

	1.8POLE DISP ASSY

	POLE DISP ASSY
	6110PRP00001
	6110-PRP-0000-1
	2

	POLE DISP ASSY
	6224I0058170
	CS5817
	2

	POLE DISP ASSY
	6712CHP01040
	CL21C 104KBNC
	2

	POLE DISP ASSY
	6704C1601000
	100UF/16V 
	2

	POLE DISP ASSY
	6505MF015000
	MF--25T1/4W 150ohm（1%）
	20

	POLE DISP ASSY
	7230D0005161
	JX5161AH
	32

	POLE DISP ASSY
	7232DR00003A
	Ф3-RED  红
	10

	POLE DISP ASSY
	7803CLA00060
	6pin
	1

	POLE DISP ASSY
	7844W0001000
	Ф0.6 * 10m/m
	4

	POLE DISP ASSY
	7840W0PR0080
	6P*80
	1







































































































































































































































































































































































































































































